## Sheet1
Appendix III: Section 4.0 (3) 50% Upper Prediction Limit (UPL) MLE 100-Year Mean Return Period Event
Wind Speed (mph)
Return Period |  | 50% UPL | 90% UPL
50 years |  | 100 | 116
100 years |  | 113 | 136
Market
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
1 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 140000 | 0.019629 |  | 0.34582 |  | 48415.36 | 0 | 0
2 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 29000 | 0.019629 |  | 0.34582 |  | 10028.896 | 0 | 0
3 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 119000 | 0.019629 |  | 0.34582 |  | 41153.056 | 0 | 0
4 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 560000 | 0.019629 |  | 0.34582 |  | 193661.44 | 0 | 0
5 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 830000 | 0.019629 |  | 0.34582 |  | 287033.92 | 0 | 0
6 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 1100000 | 0.019629 |  | 0.34582 |  | 380406.4 | 0 | 0
7 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 101000 | 0.019629 |  | 0.34582 |  | 34928.224 | 0 | 0
8 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 803000 | 0.019629 |  | 0.34582 |  | 277696.672 | 0 | 0
9 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 150000 | 0.019629 |  | 0.34582 |  | 51873.6 | 0 | 0
10 | Castries | 1992 | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 600000 | 0.019629 |  | 0.34582 |  | 207494.4 | 0 | 0
11 | Castries | 1992 | 8 | 0.01 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 250000 | 0.019629 |  | 0.34582 |  | 86456 | 0 | 0
12 | Castries | 1992 |  | 0.01 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 147600 | 0.019629 |  | 0.34582 |  | 51043.6224 | 0 | 0
13 | Castries | 1994 | 8 | 0.08 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 36868000 | 0.019629 |  | 0.34582 |  | 12749839.232 | 0 | 0
14 | Castries | 1880's | 8 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2129920 | 0.019629 |  | 0.34582 |  | 736577.4541 | 0 | 0
[10 empty] | S | 43827520 |  | 0 |  | 0 | 15156608.2765 | 0 | 0
Buildings
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
NI Block D | Castries | 1996 | 8 | 0.10 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.27871 | 17250000 | 0.049619 | 3000000 | 0.27871 |  | 4807833.75 | 148857 | 0
NI Block A | Castries | 1988 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.27871 | 10584000 | 0.049619 | 2000000 | 0.27871 |  | 2949919.56 | 99238 | 0
NI Block B | Castries | 1988 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.27871 | 9216000 | 0.049619 | 2000000 | 0.27871 |  | 2568637.44 | 99238 | 0
NI Block C | Castries | 1988 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.27871 | 9072000 | 0.049619 | 2000000 | 0.27871 |  | 2528502.48 | 99238 | 0
P.S.MB | Castries | 1980 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2957760 | 0.18927 | 500000 | 0.34582 |  | 1022864.3942 | 94637.5 | 0
PS. S | Castries | 1980 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2710980 | 0.18927 |  | 0.34582 |  | 937521.9475 | 0 | 0
P.S NS | Castries | 1980 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 876180 | 0.18927 |  | 0.34582 |  | 303004.0723 | 0 | 0
P.S NS1 | Castries | 1980 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 629340 | 0.18927 |  | 0.34582 |  | 217640.8762 | 0 | 0
Fisheries | Castries | 1991 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 |  | 0.18927 |  | 0.34582 |  | 0 | 0 | 0
Market | Castries | 1990 | 10 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 |  | 0.18927 |  | 0.34582 |  | 0 | 0 | 0
Market | Castries |  | 10 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2129920 | 0.18927 |  | 0.34582 |  | 736577.4541 | 0 | 0
Vendors | Castries | 1994 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2500000 | 0.18927 |  | 0.34582 |  | 864560 | 0 | 0
Printery | Castries | 1951 | 7 | 0.15 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 1039680 | 0.18927 |  | 0.34582 | 2000000 | 359546.2963 | 0 | 691648
Gov't Bldg | Castries | 1951 | 8 | 0.20 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 3364140 | 0.18927 |  | 0.34582 |  | 1163400.3514 | 0 | 0
Town Hall | Castries | 1951 |  | 0.3 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2042100 | 0.18927 |  | 0.34582 |  | 706207.1904 | 0 | 0
Registry | Castries | 1951 | 10 | 0.3 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 3633770 | 0.18927 | 5000000 | 0.34582 |  | 1256644.8765 | 946375 | 0
Min. Of Educ. | Castries | 1970's | 7 | 0.2 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2770200 | 0.18927 |  | 0.34582 |  | 958001.6448 | 0 | 0
Post Office | Castries | 1951 | 5 | 0.15 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 4354900 | 0.18927 | 2500000 | 0.34582 |  | 1506028.9376 | 473187.5 | 0
NCB/SLDB | Castries | 1998 | 5 | 0.10 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.27871 | 30000000 | 0.049619 | 150000 | 0.27871 | 500000 | 8361450 | 7442.85 | 139357.5
LUCELEC | Castries | 1991 | 7 | 0.20 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2145000 | 0.18927 | 1000000 | 0.34582 |  | 741792.48 | 189275 | 0
Cul. Complex | Castries | 1996 | 100 | 0.25 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 1166880 | 0.65503 |  | 0.67252 | 600000 | 784746.637 | 0 | 403510.2
Min. Of Cul | Castries | 1997 | 100 | 0.25 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 1900000 | 0.65503 |  | 0.67252 |  | 1277782.3 | 0 | 0
Fire Stations | Castries | 1951 | 7 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 1375140 | 0.18927 |  | 0.34582 | 4000000 | 475556.4154 | 0 | 1383296
Min. Trade W/hse | Castries | 1996 | 10 | .1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 750000 | 0.18927 |  | 0.34582 |  | 259368 | 0 | 0
Old CDCs | Castries | 1951 | 7 | .25 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 8847040 | 0.18927 |  | 0.34582 |  | 3059518.761 | 0 | 0
| Castries | 1951 | 7 | 0.25 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 13721940 | 0.18927 |  | 0.34582 |  | 4745376.1786 | 0 | 0
| Castries | 1951 | 7 | 0.25 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.27871 | 9184880 | 0.049619 |  | 0.27871 |  | 2559963.8292 | 0 | 0
[10 empty] | S | 144221850 |  | 18150000 |  | 7100000 | 45152445.8723 | 2157488.85 | 2617811.7
Complex
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
CASTRIES FISHERIES COMPLEX
1 | Mechanic Shop | 1983 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 120000 | 0.026295 |  | 0.41124 | 15000 | 49348.2 | 0 | 6168.525
2 | Processing Bldg. | 1983 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 735000 | 0.026295 |  | 0.41124 | 700000 | 302257.725 | 0 | 287864.5
3 | Cold Storage | 1983 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 610000 | 0.026295 |  | 0.41124 | 300000 | 250853.35 | 0 | 123370.5
4 | Elec. Cont. Room | 1983 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 92000 | 0.026295 |  | 0.41124 | 50000 | 37833.62 | 0 | 20561.75
5 | Toilets | 1996 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 92000 | 0.026295 |  | 0.41124 | 40000 | 37833.62 | 0 | 16449.4
6 | Sales Building | 1996 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 340000 | 0.026295 |  | 0.41124 |  | 139819.9 | 0 | 0
7 | Boat Eng/Store Rm | 1996 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 100130 | 0.026295 |  | 0.41124 | 100000 | 41176.9606 | 0 | 41123.5
8 | Fishermen Storage | 1996 | 8 | 1M | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.41124 | 146000 | 0.026295 |  | 0.41124 | 100000 | 60040.31 | 0 | 41123.5
VIGIE SPORTS COMPLEX
9 | Spectators Stand | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 341600 | 0.039786 |  | 0.49791 |  | 170087.4224 | 0 | 0
10 | Toilet & Meeting Rm | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 441000 | 0.039786 |  | 0.49791 |  | 219580.074 | 0 | 0
11 | Spectators Stand | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 432800 | 0.039786 |  | 0.49791 |  | 215497.1792 | 0 | 0
12 | Toilets | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 42000 | 0.039786 |  | 0.49791 |  | 20912.388 | 0 | 0
13 | Commentators Bld. | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 140000 | 0.039786 |  | 0.49791 |  | 69707.96 | 0 | 0
14 | Storage | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 45000 | 0.039786 |  | 0.49791 |  | 22406.13 | 0 | 0
15 | Toilets | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 36000 | 0.039786 |  | 0.49791 |  | 17924.904 | 0 | 0
16 | Ticket Booth | 1987 | 10 | 2M | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.49791 | 7000 | 0.039786 |  | 0.49791 |  | 3485.398 | 0 | 0
ST.LUCIA MARKETING BOARD
17 | Sales/Purchasing | 1970's | 8 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.45297 | 929280 | 0.317 |  | 0.45297 |  | 420932.2445 | 0 | 0
18 | General Offices | 1970's | 8 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.45297 | 330240 | 0.317 |  | 0.45297 |  | 149587.4918 | 0 | 0
19 | Mechancial Dept. | 1970's | 8 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.45297 | 86800 | 0.317 |  | 0.45297 |  | 39317.4488 | 0 | 0
WATER AND SEWERAGE AUTHORITY
20 | Admin. Building | 1970'S | 8 | 5 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.45608 | 885000 | 0.31868 | 800000 | 0.45608 | 200000 | 403628.145 | 254943.2 | 91215.4
21 | Technical Dept. | 1970'S | 8 | 5 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.45608 | 446250 | 0.31868 | 300000 | 0.45608 | 150000 | 203524.3612 | 95603.7 | 68411.55
22 | Technical Office |  | 8 | 5 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.45608 | 66000 | 0.31868 | 300000 | 0.45608 | 150000 | 30101.082 | 95603.7 | 68411.55
23 | Garage/Storage |  | 8 | 5 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.45608 | 562500 | 0.31868 | 80000 | 0.45608 | 10000 | 256543.3125 | 25494.32 | 4560.77
[10 empty] | S | 7026600 |  | 1480000 |  | 1815000 | 3162399.227 | 471644.92 | 769260.945
Factory
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
| Castries | 1972 | 50 | 0.75 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.60484 | 1625925 | 0.15396 |  | 0.60484 |  | 983417.9733 | 0 | 0
| Castries | 1978 | 50 | 0.75 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.60484 | 1050000 | 0.15396 |  | 0.60484 |  | 635077.8 | 0 | 0
| Castries |  |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1050000 | 0.055978 |  | 0.39777 |  | 417663.75 | 0 | 0
| Castries | 1972 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1050000 | 0.055978 |  | 0.39777 |  | 417663.75 | 0 | 0
| Castries | 1982 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 380000 | 0.055978 |  | 0.39777 |  | 151154.5 | 0 | 0
| Castries | 1982 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 882000 | 0.055978 |  | 0.39777 |  | 350837.55 | 0 | 0
| Castries | 1972 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1097775 | 0.055978 |  | 0.39777 |  | 436667.4506 | 0 | 0
| Dennery | 1977 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1449000 | 0.055978 |  | 0.39777 |  | 576375.975 | 0 | 0
| Dennery | 1972 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 970200 | 0.055978 |  | 0.39777 |  | 385921.305 | 0 | 0
| Dennery | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Dennery | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 189000 | 0.055978 |  | 0.39777 |  | 75179.475 | 0 | 0
| Vieux Fort | 1987 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1638000 | 0.055978 |  | 0.39777 |  | 651555.45 | 0 | 0
| Vieux Fort | 1973 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 630000 | 0.055978 |  | 0.39777 |  | 250598.25 | 0 | 0
| Vieux Fort | 1973 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1050000 | 0.055978 |  | 0.39777 |  | 417663.75 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 735000 | 0.055978 |  | 0.39777 |  | 292364.625 | 0 | 0
| Vieux Fort | 1973 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1050000 | 0.055978 |  | 0.39777 |  | 417663.75 | 0 | 0
| Vieux Fort | 1973 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 525000 | 0.055978 |  | 0.39777 |  | 208831.875 | 0 | 0
| Vieux Fort | 1973 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 525000 | 0.055978 |  | 0.39777 |  | 208831.875 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 882000 | 0.055978 |  | 0.39777 |  | 350837.55 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1008000 | 0.055978 |  | 0.39777 |  | 400957.2 | 0 | 0
| Vieux Fort | 1988 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1050000 | 0.055978 |  | 0.39777 |  | 417663.75 | 0 | 0
| Vieux Fort | 1988 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Vieux Fort | 1988 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Vieux Fort | 1977 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 3234000 | 0.055978 |  | 0.39777 |  | 1286404.35 | 0 | 0
| Vieux Fort | 1982 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2270100 | 0.055978 |  | 0.39777 |  | 902989.0275 | 0 | 0
| Vieux Fort | 1982 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 882000 | 0.055978 |  | 0.39777 |  | 350837.55 | 0 | 0
| Vieux Fort | 1982 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2016000 | 0.055978 |  | 0.39777 |  | 801914.4 | 0 | 0
| Vieux Fort | 1982 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1008000 | 0.055978 |  | 0.39777 |  | 400957.2 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
[5 empty] | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1008000 | 0.055978 |  | 0.39777 |  | 400957.2 | 0 | 0
| Vieux Fort | 1998 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1008000 | 0.055978 |  | 0.39777 |  | 400957.2 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2100000 | 0.055978 |  | 0.39777 |  | 835327.5 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2100000 | 0.055978 |  | 0.39777 |  | 835327.5 | 0 | 0
| Vieux Fort | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2302125 | 0.055978 |  | 0.39777 |  | 915727.7719 | 0 | 0
| Castries | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2604000 | 0.055978 |  | 0.39777 |  | 1035806.1 | 0 | 0
| Castries | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Castries | 1984 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1050000 | 0.055978 |  | 0.39777 |  | 417663.75 | 0 | 0
| Castries | 1988 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Castries | 1990 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Castries | 1990 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Castries | 1990 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
| Castries | 1988 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2016000 | 0.055978 |  | 0.39777 |  | 801914.4 | 0 | 0
| Castries | 1988 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 2100000 | 0.055978 |  | 0.39777 |  | 835327.5 | 0 | 0
| Micoud | 1990 |  |  | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.39777 | 1029000 | 0.055978 |  | 0.39777 |  | 409310.475 | 0 | 0
[10 empty] | S | 56883125 |  | 0 |  | 0 | 23180764.7533 | 0 | 0
Schools
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
1 | CASTRIES | 1990 | 20 | 0.5 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.42971 | 210000 | 0.28333 | 23625 | 0.42971 |  | 90239.52 | 6693.6476 | 0
2 | CASTRIES | 1990 | 20 | 0.5 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.42971 | 560000 | 0.28333 | 63000 | 0.42971 |  | 240638.72 | 17849.727 | 0
3 | CASTRIES | 1990 | 20 | 0.5 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.42971 | 383000 | 0.28333 | 43087.5 | 0.42971 |  | 164579.696 | 12207.9383 | 0
4 | CASTRIES | 1990 | 20 | 0.5 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.42971 | 367000 | 0.28333 | 41287.5 | 0.42971 |  | 157704.304 | 11697.9461 | 0
5 | CASTRIES | 1990 | 20 | 0.5 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.42971 | 133000 | 0.28333 | 14962.5 | 0.42971 |  | 57151.696 | 4239.3102 | 0
6 | CASTRIES | 1990 | 20 | 0.5 | 0.75 | 1.15 | 1 | 1.15 | 129.95 | 0.42971 | 128000 | 0.28333 | 14400 | 0.42971 |  | 55003.136 | 4079.9376 | 0
7 | CASTRIES | 1960's | 150 | 8.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 190000 | 0.86518 | 21375 | 0.84251 |  | 160076.33 | 18493.2011 | 0
8 | CASTRIES | 1960's | 150 | 8.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 100000 | 0.86518 | 11250 | 0.84251 |  | 84250.7 | 9733.2638 | 0
9 | CASTRIES | 1960's | 150 | 20.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 280000 | 0.86518 | 31500 | 0.84251 |  | 235901.96 | 27253.1385 | 0
10 | CASTRIES | 1960's | 150 | 20.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 183000 | 0.86518 | 20587.5 | 0.84251 |  | 154178.781 | 17811.8727 | 0
11 | CASTRIES | 1960's | 150 | 20.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 125000 | 0.86518 | 14062.5 | 0.84251 |  | 105313.375 | 12166.5797 | 0
12 | CASTRIES | 1960's | 150 | 20.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 70000 | 0.86518 |  | 0.84251 |  | 58975.49 | 0 | 0
13 | CASTRIES | 1960's | 900 | 15.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97802 | 470000 | 0.97412 | 52875 | 0.97802 | 25,000.00 | 459670.34 | 51506.4364 | 24450.55
14 |  | 1960's | 900 | 15.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97802 | 120000 | 0.97412 | 13500 | 0.97802 |  | 117362.64 | 13150.5795 | 0
15 |  | 1960's | 900 | 15.0 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97802 | 38000 | 0.97412 |  | 0.97802 |  | 37164.836 | 0 | 0
16 | CASTRIES | 1989 | 10 | 0.25 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.36082 | 910000 | 0.20308 | 102375 | 0.36082 |  | 328345.29 | 20790.1103 | 0
17 | CASTRIES | 1989 | 10 | 0.25 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.36082 | 1420000 | 0.20308 | 159750 | 0.36082 |  | 512362.98 | 32441.7105 | 0
18 | CASTRIES | 1989 | 10 | 0.25 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.36082 | 80000 | 0.20308 | 9000 | 0.36082 |  | 28865.52 | 1827.702 | 0
19 | CASTRIES | 1962 | 30 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.52611 | 870000 | 0.41205 | 97875 | 0.52611 |  | 457718.31 | 40329.4916 | 0
20 |  | 1962 | 30 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.52611 | 232000 | 0.41205 | 26100 | 0.52611 |  | 122058.216 | 10754.5311 | 0
21 |  | 1962 | 30 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.52611 | 95000 | 0.41205 | 10687.5 | 0.52611 |  | 49980.735 | 4403.7951 | 0
22 |  | 1962 | 30 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.52611 | 210000 | 0.41205 | 23625 | 0.52611 |  | 110483.73 | 9734.7049 | 0
23 | CASTRIES | 1984 | 700 | 10 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97034 | 453000 | 0.97027 | 50962.5 | 0.97034 |  | 439564.02 | 49447.1301 | 0
24 |  | 1984 | 700 | 10 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97034 | 453000 | 0.97027 | 50962.5 | 0.97034 |  | 439564.02 | 49447.1301 | 0
25 |  | 1984 | 700 | 10 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97034 | 153000 | 0.97027 | 17212.5 | 0.97034 |  | 148462.02 | 16700.6863 | 0
26 | CASTRIES | 1970's | 200 | 6 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.8804 | 477000 | 0.90365 | 53662.5 | 0.8804 |  | 419952.708 | 48492.0645 | 0
27 |  | 1970's | 200 | 6 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.8804 | 373000 | 0.90365 | 41962.5 | 0.8804 |  | 328390.692 | 37919.3712 | 0
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
1 | CASTRIES | 1983 | 700 | 6 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97034 | 670000 | 0.97027 | 75375 | 0.97034 |  | 650127.8 | 73133.7244 | 0
2 | CASTRIES | 1983 | 700 | 6 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97034 | 662000 | 0.97027 | 74475 | 0.97034 |  | 642365.08 | 72260.4859 | 0
3 | CASTRIES | 1983 | 700 | 6 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.97034 | 68000 | 0.97027 | 7650 | 0.97034 |  | 65983.12 | 7422.5273 | 0
4 | CASTRIES | 1983 | 150 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 193000 | 0.81937 | 21712.5 | 0.79903 |  | 154213.562 | 17790.6363 | 0
5 | CASTRIES | 1983 | 150 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 250000 | 0.81937 | 28125 | 0.79903 |  | 199758.5 | 23044.8656 | 0
6 | CASTRIES | 1983 | 150 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 132000 | 0.81937 | 14850 | 0.79903 |  | 105472.488 | 12167.6891 | 0
7 | CASTRIES | 1983 | 150 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 524000 | 0.81937 | 58950 | 0.79903 |  | 418693.816 | 48302.0384 | 0
8 | CASTRIES | 1983 | 150 | 1 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 12000 | 0.81937 |  | 0.79903 |  | 9588.408 | 0 | 0
9 | CASTRIES | 1970's | 400 | 1.67 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.94638 | 112000 | 0.95503 | 12600 | 0.94638 |  | 105994.672 | 12033.441 | 0
10 | CASTRIES | 1970's | 400 | 1.67 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.94638 | 218000 | 0.95503 | 24525 | 0.94638 |  | 206311.058 | 23422.2334 | 0
11 | CASTRIES | 1970's | 400 | 1.67 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.94638 | 128947 | 0.95503 | 14506.5375 | 0.94638 |  | 122032.9908 | 13854.251 | 0
12 | CASTRIES | 1970's | 400 | 1.67 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.94638 | 260000 | 0.95503 | 29250 | 0.94638 |  | 246059.06 | 27934.7738 | 0
13 | CASTRIES | 1970's | 400 | 1.67 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.94638 | 52000 | 0.95503 | 5850 | 0.94638 |  | 49211.812 | 5586.9547 | 0
14 | CASTRIES | 1970's | 400 | 1.67 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.94638 | 116000 | 0.95503 | 13050 | 0.94638 |  | 109780.196 | 12463.2067 | 0
15 | SOUFRIERE | 1982 | 800 | 0.8 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.96493 | 190000 | 0.96694 | 21375 | 0.96493 |  | 183336.32 | 20668.257 | 0
16 | SOUFRIERE | 1982 | 800 | 0.8 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.96493 | 160000 | 0.96694 | 18000 | 0.96493 |  | 154388.48 | 17404.848 | 0
17 | CHOSEUL | 1982 | 1000 | 3.15 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.98075 | 315000 | 0.97518 | 35437.5 | 0.98075 |  | 308936.565 | 34557.9413 | 0
18 | CHOSEUL | 1982 | 1000 | 3.15 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.98075 | 315000 | 0.97518 | 35437.5 | 0.98075 |  | 308936.565 | 34557.9413 | 0
19 | LABORIE | 1982 | 150 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.77071 | 505000 | 0.78755 | 56812.5 | 0.77071 |  | 389207.035 | 44742.5139 | 0
20 | VIEUX FORT | 1983 | 15 | 0.3 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.36082 | 2000000 | 0.20308 | 225000 | 0.36082 |  | 721638 | 45692.55 | 0
21 | MICOUD | 1972 | 150 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 328000 | 0.81937 | 36900 | 0.79903 |  | 262083.152 | 30234.8637 | 0
22 | MICOUD | 1972 | 150 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 43000 | 0.81937 | 4837.5 | 0.79903 |  | 34358.462 | 3963.7169 | 0
23 | MICOUD | 1972 | 150 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 165000 | 0.81937 | 18562.5 | 0.79903 |  | 131840.61 | 15209.6113 | 0
24 | MICOUD | 1972 | 150 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 8000 | 0.81937 |  | 0.79903 |  | 6392.272 | 0 | 0
25 | MICOUD | 1972 | 150 | 0.75 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.79903 | 2800000 | 0.81937 | 315000 | 0.79903 |  | 2237295.2 | 258102.495 | 0
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
1 | DENNERY | 1982 | 50 | 2 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.67578 | 1300000 | 0.65503 | 146250 | 0.67578 |  | 878507.5 | 95798.7225 | 0
2 | DENNERY | 1982 | 150 | 3 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 520000 | 0.86518 | 58500 | 0.84251 |  | 438103.64 | 50612.9715 | 0
3 | DENNERY | 1982 | 150 | 3 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 206000 | 0.86518 | 23175 | 0.84251 |  | 173556.442 | 20050.5233 | 0
4 | DENNERY | 1987 | 150 | 3 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 75000 | 0.86518 | 8437.5 | 0.84251 |  | 63188.025 | 7299.9478 | 0
5 | CHOISEUL | 1985 |  |  | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.45763 | 710000 | 0.31868 | 79875 | 0.45763 |  | 324915.17 | 25454.4851 | 0
6 | GROS ISLET | 1969 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 124000 | 0.51564 | 13950 | 0.59166 |  | 73365.716 | 7193.178 | 0
7 | GROS ISLET | 1982 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 621000 | 0.51564 | 69862.5 | 0.59166 |  | 367420.239 | 36023.8995 | 0
8 | GROS ISLET | 1970's | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 660000 | 0.51564 |  | 0.59166 |  | 390494.94 | 0 | 0
9 | GROS ISLET | 1970's | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 474300 | 0.51564 |  | 0.59166 |  | 280623.8637 | 0 | 0
10 | DENNERY | 1970 | 10 | 0.15 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.36082 | 510000 | 0.20308 | 57375 | 0.36082 |  | 184017.69 | 11651.6002 | 0
11 | DENNERY | 1970 | 10 | 0.15 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.36082 | 450000 | 0.20308 | 50625 | 0.36082 |  | 162368.55 | 10280.8237 | 0
12 | VIEUX FORT (P) | 1970 | 10 | 0.2 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.36082 | 1400000 | 0.20308 | 157500 | 0.36082 |  | 505146.6 | 31984.785 | 0
13 | VIEUX FORT (CA) | 1970 | 80 | 0.2 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.65266 | 332000 | 0.6174 | 37350 | 0.65266 |  | 216682.788 | 23060.002 | 0
14 | VIEUX FORT | 1970 | 82 | 0.2 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.66431 | 332000 | 0.63642 | 37350 | 0.66431 |  | 220550.588 | 23770.2497 | 0
15 | VIEUX FORT | 1970 | 80 | 0.2 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.65266 | 332000 | 0.6174 | 37350 | 0.65266 |  | 216682.788 | 23060.002 | 0
16 | VIEUX FORT | 1970 | 80 | 0.2 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.65266 | 500000 | 0.6174 | 56250 | 0.65266 |  | 326329.5 | 34728.9187 | 0
17 | VIEUX FORT | 1970 | 80 | 0.2 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.65266 | 109000 | 0.6174 | 12262.5 | 0.65266 |  | 71139.831 | 7570.9043 | 0
18 | VIEUX FORT | 1970 | 80 | 0.2 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.65266 | 490000 | 0.6174 | 55125 | 0.65266 |  | 319802.91 | 34034.3404 | 0
19 | VIEUX FORT (CB) | 1963 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 225000 | 0.51564 | 25312.5 | 0.59166 |  | 133123.275 | 13052.1375 | 0
20 |  | 1963 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 740000 | 0.51564 | 83250 | 0.59166 |  | 437827.66 | 42927.03 | 0
21 |  | 1963 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 500000 | 0.51564 | 56250 | 0.59166 |  | 295829.5 | 29004.75 | 0
22 |  | 1963 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 440000 | 0.51564 | 49500 | 0.59166 |  | 260329.96 | 25524.18 | 0
23 |  | 1963 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 134000 | 0.51564 | 15075 | 0.59166 |  | 79282.306 | 7773.273 | 0
24 |  | 1980's | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 500000 | 0.51564 | 56250 | 0.59166 |  | 295829.5 | 29004.75 | 0
25 |  | 1980's | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 260000 | 0.51564 | 29250 | 0.59166 |  | 153831.34 | 15082.47 | 0
26 |  | 1980's | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 120000 | 0.51564 | 13500 | 0.59166 |  | 70999.08 | 6961.14 | 0
27 |  | 1963 | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 90000 | 0.51564 | 10125 | 0.59166 |  | 53249.31 | 5220.855 | 0
28 |  | 1980's | 50 | 0.5 | 0.7 | 1.14 | 1 | 1.14 | 128.82 | 0.59166 | 730000 | 0.51564 | 82125 | 0.59166 |  | 431911.07 | 42346.935 | 0
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
1 | VF Compreh. | 1980's | 100 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.69816 | 951000 | 0.69062 | 106987.5 | 0.69816 |  | 663947.307 | 73887.2793 | 0
2 | VIEUX FORT | 1980's | 100 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.69816 | 435000 | 0.69062 | 48937.5 | 0.69816 |  | 303698.295 | 33797.0205 | 0
3 | VIEUX FORT | 1980's | 100 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.69816 | 23000 | 0.69062 | 2587.5 | 0.69816 |  | 16057.611 | 1786.9689 | 0
4 | VIEUX FORT | 1980's | 100 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.69816 | 426000 | 0.69062 | 47925 | 0.69816 |  | 297414.882 | 33097.7718 | 0
5 | VIEUX FORT | 1980's | 100 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.69816 | 135000 | 0.69062 | 15187.5 | 0.69816 |  | 94251.195 | 10488.7305 | 0
6 | VIEUX FORT | 1980's | 100 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.69816 | 864000 | 0.69062 | 97200 | 0.69816 |  | 603207.648 | 67127.8752 | 0
7 | AUGIER | 1985 | 200 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.8081 | 36000 | 0.82912 | 4050 | 0.8081 |  | 29091.672 | 3357.9239 | 0
8 |  | 1985 | 200 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.8081 | 255000 | 0.82912 | 28687.5 | 0.8081 |  | 206066.01 | 23785.2939 | 0
9 |  | 1985 | 200 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.8081 | 63000 | 0.82912 | 7087.5 | 0.8081 |  | 50910.426 | 5876.3667 | 0
10 |  | 1985 | 200 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.8081 | 61000 | 0.82912 | 6862.5 | 0.8081 |  | 49294.222 | 5689.8154 | 0
11 |  | 1985 | 200 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.8081 | 70000 | 0.82912 | 7875 | 0.8081 |  | 56567.14 | 6529.2964 | 0
12 |  | 1985 | 200 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.8081 | 104000 | 0.82912 | 11700 | 0.8081 |  | 84042.608 | 9700.6689 | 0
13 |  | 1985 | 200 | 0.10 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.8081 | 660000 | 0.82912 | 74250 | 0.8081 |  | 533347.32 | 61561.9373 | 0
14 | VIEUX FORT | 1972 | 20 | 0.25 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.40173 | 1430000 | 0.24892 | 160875 | 0.40173 |  | 574468.18 | 40044.3615 | 0
15 | VIEUX FORT | 1972 | 20 | 0.25 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.40173 | 51000 | 0.24892 | 5737.5 | 0.40173 |  | 20488.026 | 1428.1555 | 0
16 | VIEUX FORT | 1972 | 20 | 0.25 | 0.65 | 1.13 | 1 | 1.13 | 127.69 | 0.40173 | 51000 | 0.24892 | 5737.5 | 0.40173 |  | 20488.026 | 1428.1555 | 0
17 | Gros Islet | 1963 | 150 | 2.205 | 1 | 1.2 | 1 | 1.2 | 135.6 | 0.84251 | 1076400 | 0.86518 | 121095 | 0.84251 |  | 906874.5348 | 104768.851 | 0
18 | Gros Islet | 1972 | 75 | 1.0 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.68706 | 701112 | 0.67325 | 78875.1 | 0.68706 |  | 481704.6085 | 53102.8188 | 0
19 | Gros Islet | 1972 | 75 | 1.0 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.68706 | 631128 | 0.67325 | 71001.9 | 0.68706 |  | 433621.5414 | 47802.1712 | 0
20 | Gros Islet | 1972 | 75 | 1.0 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.68706 | 1564500 | 0.67325 | 176006.25 | 0.68706 |  | 1074902.241 | 118496.5598 | 0
21 | Gros Islet | 1972 | 75 | 1.0 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.68706 | 764000 | 0.67325 | 85950 | 0.68706 |  | 524912.312 | 57866.0094 | 0
22 | Gros Islet | 1972 | 75 | 1.0 | 0.8 | 1.16 | 1 | 1.16 | 131.08 | 0.68706 |  | 0.67325 |  | 0.68706 |  | 0 | 0 | 0
[10 empty] | S | 42546387 |  | 4644459.7875 |  | 25000 | 27838430.5762 | 2804820.4776 | 24450.55
Buildings
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
SLASPA BUILDINGS
1 | Banana | 1981 | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 5625000 | 0.49391 |  | 0.34582 |  | 1945260 | 0 | 0
2 | Concrete Shed | 1979 | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 7837500 | 0.49391 |  | 0.34582 |  | 2710395.6 | 0 | 0
3 | Workshop | 1989 | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 825000 | 0.49391 |  | 0.34582 |  | 285304.8 | 0 | 0
4 | Sheds | 1960's | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2800000 | 0.49391 |  | 0.34582 |  | 968307.2 | 0 | 0
5 | Customs 1 | 1992 | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 2231250 | 0.49391 |  | 0.34582 |  | 771619.8 | 0 | 0
6 | Customs 2 | 1960's | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 900000 | 0.49391 |  | 0.34582 |  | 311241.6 | 0 | 0
7 | LPC | 1960's | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 |  | 0.49391 |  | 0.34582 |  | 0 | 0 | 0
8 | HQ | 1997 | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 3579860 | 0.49391 |  | 0.34582 |  | 1238001.5046 | 0 | 0
GEORGE FL CHARLES AIRPORT
9 | Terminal |  | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 4000000 | 0.49391 | 300000 | 0.34582 | 200000 | 1383296 | 148174.5 | 69164.8
10 | Canopy | 1980 | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 240000 | 0.49391 |  | 0.34582 |  | 82997.76 | 0 | 0
11 | Mtc. Garage |  | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 222000 | 0.49391 |  | 0.34582 |  | 76772.928 | 0 | 0
12 | Fire Hall | 1990 | 6 | 0.05 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 242000 | 0.49391 |  | 0.34582 |  | 83689.408 | 0 | 0
HEWANORRA AIRPORT
13 | Hewanorra | 1979/96 | 10 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 18400000 | 0.49391 | 300000 | 0.34582 | 300000 | 6363161.6 | 148174.5 | 103747.2
14 | Cargo Shed | 1988 | 10 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 | 950000 | 0.49391 |  | 0.34582 |  | 328532.8 | 0 | 0
PORT VIEUX FORT
15 | Administration | 1990 | 12 | 0.15 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 |  | 0.49391 |  | 0.34582 |  | 0 | 0 | 0
16 | Shed
17 | Security | 1993 | 6 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.34582 |  | 0.49391 |  | 0.34582 |  | 0 | 0 | 0
[10 empty] | S | 47852610 |  | 600000 |  | 500000 | 16548581.0006 | 296349 | 172912
Airport Runways
1 | 2 | 3 | 4 | 5 | 5 | 6 | 7 | 8 | 9
PARISHES | LENGTH | AREA OF | REPLACEMENT | TOTAL | Erosion | Pavement | Failure | Failure | Pavement
| (Feet) | PAVEMENTS | COST | COST | Potential | Resistance | Likelihood | Probability | Damage
|  | ( Sq.Ft.) | (Per Sq.Ft.)
Vieux Fort | 9200 | 2071278.48 | 37.7778 | 78248298.1333 | H | VH | M | 0.01 | 782482.9813
Castries | 5900 | 1009875 | 37.7778 | 38150833.3333 | H | VH | M | 0.01 | 381508.3333
|  |  | S | 116399131.4667 |  |  |  |  | 1163991.3147
Hospitals
1 | 2 | 3 | 4 | 5 | 5a | 5b | 5c | 5e | 6 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Struct No. | Parish | Year | Elevation | Distance | K2 |  |  |  | Site | Struct. | Building | Content | Contents | Equipment | Ext.Equip | Structural | Content | Equipement
|  | Built | ft. | from coast |  |  |  |  | Speed | Damage | Value | Damage | Value | Damage | Value | Damage | Damage | Damage
[9 empty] | mph | Ratio |  | Ratio |  | Ratio |  | $ | $ | $
Victoria Hospital - Castries
| "L" Block | 1898 | 100 | 0.124 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 3021200 | 0.81667 |  | 0.67252 |  | 2031808.3604 | 0 | 0
| Maternity | 1992 | 100 | 0.124 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 8500000 | 0.81667 |  | 0.67252 |  | 5716394.5 | 0 | 0
| Baron Wing | 1898 | 100 | 0.124 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 1080000 | 0.81667 |  | 0.67252 |  | 726318.36 | 0 | 0
| Paeditrics | 1963 | 100 | 0.124 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 1732000 | 0.81667 |  | 0.67252 |  | 1164799.444 | 0 | 0
| Chest Wing | 1970 | 100 | 0.124 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 1460000 | 0.81667 |  | 0.67252 |  | 981874.82 | 0 | 0
| Nurses Qtrs. | 1966 | 100 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 2931880 | 0.81667 |  | 0.67252 |  | 1971739.142 | 0 | 0
| Administra. | 1963 | 100 | 0.1 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 1908720 | 0.81667 |  | 0.67252 |  | 1283646.6482 | 0 | 0
| Laboratory | 1976 | 100 | 0.15 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 1100000 | 0.81667 |  | 0.67252 |  | 739768.7 | 0 | 0
| Kitchen | 1898 | 100 | 0.15 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 90000 | 0.81667 |  | 0.67252 |  | 60526.53 | 0 | 0
| Drs. Residen. | 1943 | 100 | 0.125 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 384000 | 0.81667 |  | 0.67252 |  | 258246.528 | 0 | 0
| Boiler hse. | 1953 | 100 | 0.125 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 97500 | 0.81667 |  | 0.67252 |  | 65570.4075 | 0 | 0
| Generator 1 | 1977 | 100 | 0.125 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 37200 | 0.81667 |  | 0.67252 |  | 25017.6324 | 0 | 0
| Generator 2 | 1991 | 100 | 0.125 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 35040 | 0.81667 |  | 0.67252 |  | 23564.9957 | 0 | 0
| Sterilzation | 1993 | 100 | 0.125 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 32160 | 0.81667 |  | 0.67252 |  | 21628.1467 | 0 | 0
| Mobile unit | 1995 | 100 | 0.15 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 83160 | 0.81667 |  | 0.67252 |  | 55926.5137 | 0 | 0
| Mobile unit | 1995 | 100 | 0.15 | 0.6 | 1.12 | 1 | 1.12 | 126.56 | 0.67252 | 45435 | 0.81667 |  | 0.67252 |  | 30555.8099 | 0 | 0
[10 empty] | S | 22538295 |  | 0 |  | 0 | 15157386.5385 | 0 | 0
Roadworks
Asphalt
PARISH | Miles | Replacement | Erosion | Pavement | Failure | Failure | Pavement
| of | Cost per Mile | Potential | Resistance | Likelihood | Probability | Damage
| Road | 1300000
Zone 1 | 19.8 | 25740000 | H | M | VH | 0.5 | 12870000
Zone 2 | 8.4 | 10920000 | H | M | VH | 0.5 | 5460000
Zone 3 | 16.43 | 21359000 | H | M | VH | 0.5 | 10679500
Zone 4A | 3.47 | 4511000 | H | M | VH | 0.5 | 2255500
Zone 4b | 9.05 | 11765000 | H | M | VH | 0.5 | 5882500
Zone 5a | 13.7 | 17810000 | H | M | VH | 0.5 | 8905000
Zone 5b | 10.664 | 13863200 | H | M | VH | 0.5 | 6931600
Zone 5c |  | 0 | H | M | VH | 0.5 | 0
Zone 6a |  | 0 | H | M | VH | 0.5 | 0
Zone 6b | 9.424 | 12251200 | H | M | VH | 0.5 | 6125600
Zone 7 | 28.644 | 37237200 | H | M | VH | 0.5 | 18618600
Zone 8a | 35.588 | 46264400 | H | M | VH | 0.5 | 23132200
Zone 8b | 13.02 | 16926000 | H | M | VH | 0.5 | 8463000
| S | 218647000 |  |  |  |  | 109323500
Surface Dres
PARISH | Miles | Replacement | Erosion | Pavement | Failure | Failure | Pavement
| of | Cost per Mile | Potential | Resistance | Likelihood | Probability | Damage
| Road | 637269.1253
Zone 1 | 45.57 | 29040354.0384 | H | M | VH | 0.5 | 14520177.0192
Zone 2 | 24.12 | 15370931.3014 | H | M | VH | 0.5 | 7685465.6507
Zone 3 | 45.63 | 29078590.1859 | H | M | VH | 0.5 | 14539295.093
Zone 4A | 32.61 | 20781346.1749 | H | M | VH | 0.5 | 10390673.0875
Zone 4b | 12.96 | 8259007.8635 | H | M | VH | 0.5 | 4129503.9317
Zone 5a | 20.09 | 12802736.7266 | H | M | VH | 0.5 | 6401368.3633
Zone 5b | 20.15 | 12840972.8741 | H | M | VH | 0.5 | 6420486.4371
Zone 5c | 38.13 | 24299071.7464 | H | M | VH | 0.5 | 12149535.8732
Zone 6a | 32.612 | 20782620.7132 | H | M | VH | 0.5 | 10391310.3566
Zone 6b | 19.716 | 12564398.0738 | H | M | VH | 0.5 | 6282199.0369
Zone 7 | 29.822 | 19004639.8537 | H | M | VH | 0.5 | 9502319.9269
Zone 8a | 26.846 | 17108126.9369 | H | M | VH | 0.5 | 8554063.4685
Zone 8b | 11.78 | 7507030.2956 | H | M | VH | 0.5 | 3753515.1478
| S | 229439826.7845 |  |  |  |  | 114719913.3923
Gravel
PARISH | Miles | Replacement | Erosion | Pavement | Failure | Failure | Pavement
| of | Cost per Mile | Potential | Resistance | Likelihood | Probability | Damage
| Road | 144833.8921
Zone 1 | 7 | 1013837.2447 | H | M | VH | 0.5 | 506918.6224
Zone 2 | 2.98 | 431604.9985 | H | M | VH | 0.5 | 215802.4992
Zone 3 | 2.98 | 431604.9985 | H | M | VH | 0.5 | 215802.4992
Zone 4A | 5.33 | 771964.6449 | H | M | VH | 0.5 | 385982.3225
Zone 4b |  | 0 | H | M | VH | 0.5 | 0
Zone 5a | 3.1 | 448985.0655 | H | M | VH | 0.5 | 224492.5328
Zone 5b | 8.06 | 1167361.1704 | H | M | VH | 0.5 | 583680.5852
Zone 5c |  | 0 | H | M | VH | 0.5 | 0
Zone 6a |  | 0 | H | M | VH | 0.5 | 0
Zone 6b | 4.34 | 628579.0917 | H | M | VH | 0.5 | 314289.5459
Zone 7 | 3.844 | 556741.4813 | H | M | VH | 0.5 | 278370.7406
Zone 8a | 0.186 | 26939.1039 | H | M | VH | 0.5 | 13469.552
Zone 8b | 1.054 | 152654.9223 | H | M | VH | 0.5 | 76327.4611
| S | 5630272.7217 |  |  |  |  | 2815136.3609
Earthen
PARISH | Miles | Replacement | Erosion | Pavement | Failure | Failure | Pavement
| of | Cost per Mile | Potential | Resistance | Likelihood | Probability | Damage
| Road | 40231.6367
Zone 1 | 6.23 | 250643.0966 | H | M | VH | 0.5 | 125321.5483
Zone 2 | 7.32 | 294495.5806 | H | M | VH | 0.5 | 147247.7903
Zone 3 | 0.37 | 14885.7056 | H | M | VH | 0.5 | 7442.8528
Zone 4A | 1.67 | 67186.8333 | H | M | VH | 0.5 | 33593.4166
Zone 4b |  | 0 | H | M | VH | 0.5 | 0
Zone 5a | 4.898 | 197054.5565 | H | M | VH | 0.5 | 98527.2783
Zone 5b | 1.24 | 49887.2295 | H | M | VH | 0.5 | 24943.6148
Zone 5c |  | 0 | H | M | VH | 0.5 | 0
Zone 6a | 1.736 | 69842.1213 | H | M | VH | 0.5 | 34921.0607
Zone 6b | 1.736 | 69842.1213 | H | M | VH | 0.5 | 34921.0607
Zone 7 | 1.116 | 44898.5066 | H | M | VH | 0.5 | 22449.2533
Zone 8a |  | 0 | H | M | VH | 0.5 | 0
Zone 8b | 2.852 | 114740.6279 | H | M | VH | 0.5 | 57370.3139
| S | 1173476.3792 |  |  |  |  | 586738.1896
Concrete
PARISH | Miles | Replacement | Erosion | Pavement | Failure | Failure | Pavement
| of | Cost per Mile | Potential | Resistance | Likelihood | Probability | Damage
| Road | 1641450.7772
Zone 1 | 1.55 | 2544248.7047 | H | M | VH | 0.5 | 1272124.3523
Zone 2 |  | 0 | H | M | VH | 0.5 | 0
Zone 3 |  | 0 | H | M | VH | 0.5 | 0
Zone 4A |  | 0 | H | M | VH | 0.5 | 0
Zone 4b |  | 0 | H | M | VH | 0.5 | 0
Zone 5a |  | 0 | H | M | VH | 0.5 | 0
Zone 5b |  | 0 | H | M | VH | 0.5 | 0
Zone 5c |  | 0 | H | M | VH | 0.5 | 0
Zone 6a |  | 0 | H | M | VH | 0.5 | 0
Zone 6b |  | 0 | H | M | VH | 0.5 | 0
Zone 7 |  | 0 | H | M | VH | 0.5 | 0
Zone 8a | 0.124 | 203539.8964 | H | M | VH | 0.5 | 101769.9482
Zone 8b |  | 0 | H | M | VH | 0.5 | 0
| S | 2747788.601 |  |  |  |  | 1373894.3005
Sea Ports
Asphalt
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
PARISH | Paved | Replacement | Erosion | Pavement | Failure | Failure | Pavement
| Area | Cost per Sq. ft. | Potential | Resistance | Likelihood | Probability | Damage
35
CASTRIES | 518,000.00 | 18130000 | H | M | VH | 0.5 | 9065000
VIEUX FORT | 150000 | 5250000 | H | M | VH | 0.5 | 2625000
| S | 23380000 |  |  |  |  | 11690000
Slope Protection
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
PARISH | Paved | Replacement | Erosion | Pavement | Failure | Failure | Pavement
| Area | Cost per Sq. ft. | Potential | Resistance | Likelihood | Probability | Damage
35.32
CASTRIES |  |  | H | L | VH | 0.5 | 0
VIEUX FORT | 36000 | 1271509.2 | H | L | VH | 0.5 | 635754.6
| S | 1271509.2 |  |  |  |  | 635754.6
Wharves
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Parishes | Year | Elevation | Design | Wave | Design | Failure | Moment | z | Pf | Rep. Cost | Damage to
| Built | (ft) | Wave | Elevation | Moment | Moment | due to |  |  |  | Wharf
|  |  | Height | (ft) |  |  | Wind
CASTRIES | 1998 | 7 | 12 | 23.784 | 23456.5571 | 35184.8357 | 22145.6415 | -1.4824 | 0.069122 | 30000000 | 2073647.1523
VIEUX FORT | 1990 | 5 | 12 | 23.784 | 23456.5571 | 35184.8357 | 22145.6415 | -1.4824 | 0.069122 | 28000000 | 1935404.0088
CASTRIES | 1979 | 5 | 12 | 23.784 | 23456.5571 | 35184.8357 | 22145.6415 | -1.4824 | 0.069122 | 52000000 | 3594321.7306
CASTRIES | 1979 | 5 | 12 | 23.784 | 23456.5571 | 35184.8357 | 22145.6415 | -1.4824 | 0.069122 | 40000000 | 2764862.8697
CASTRIES | 1895 | 4 | 12 | 23.784 | 23456.5571 | 35184.8357 | 22145.6415 | -1.4824 | 0.069122 | 35000000 | 2419255.011
VIEUX FORT | 1940's | 5 | 12 | 23.784 | 23456.5571 | 35184.8357 | 22145.6415 | -1.4824 | 0.069122 | 16000000 | 1105945.1479
[9 empty] | S | 201000000 | 13893435.9201
QF - Quarry Fill
RC - Reinforced Concrete
SSP - Steel Sheet Pile
STRODS - Steel Tie Rods
ASP - Asphalt
WPLS - Wooden Piles
SUMMARY
|  |  | Structure | Contents | Equipment | Structural | Content | Equipment | % PML
| Infrastructure |  | Replacement | Replacement | Replacement | Damage | Damage | Damage
Element |  |  | Cost (EC$) | Cost (EC$) | Cost (EC$) | (EC$) | (EC$) | (EC$)
Market |  |  | 43827520 | 0 | 0 | 15156608.2765 | 0 | 0 | 34.5824
Buildings |  |  | 144221850 | 18150000 | 7100000 | 45152445.8723 | 2157488.85 | 2617811.7 | 29.4608
Complex |  |  | 7026600 | 1480000 | 1815000 | 3162399.227 | 471644.92 | 769260.945 | 42.6611
Factory |  |  | 56883125 | 0 | 0 | 23180764.7533 | 0 | 0 | 40.7516
Schools |  |  | 42546387 | 4644459.7875 | 25000 | 27838430.5762 | 2804820.4776 | 24450.55 | 64.9521
Buildings |  |  | 47852610 | 600000 | 500000 | 16548581.0006 | 296349 | 172912 | 34.7639
Airport Runways |  |  | 116399131.4667 |  |  | 1163991.3147 |  |  | 1
Hospitals |  |  | 22538295 | 0 | 0 | 15157386.5385 | 0 | 0 | 67.2517
Roadworks |  | Asphalt | 218647000 |  |  | 109323500 |  |  | 50
|  | Surface Dres | 229439826.7845 |  |  | 114719913.3923 |  |  | 50
|  | Gravel | 5630272.7217 |  |  | 2815136.3609 |  |  | 50
|  | Earthen | 1173476.3792 |  |  | 586738.1896 |  |  | 50
|  | Concrete | 2747788.601 |  |  | 1373894.3005 |  |  | 50
Seaports |  | Asphalt | 23380000 |  |  | 11690000 |  |  | 50
|  | Slope Protection | 1271509.2 |  |  | 635754.6 |  |  | 50
|  | Wharves | 201000000 |  |  | 13893435.9201 |  |  | 6.9122
Total |  |  | 1164585392.1531 | 24874459.7875 | 9440000 | 402398980.3225 | 5730303.2476 | 3584435.195 | 34.341