## Sheet1
Page: 1
ELECTRICAL BQ
PRICE PER UNIT
ITEM | DESCRIPTION | QUANTITY | UNIT | MATERIAL COST ONLY | ALL OTHER CHARGES | INSTALLED | TOTAL COST
1 | POWER SUPPLY
JPS Co. Ltd Incoming Supply & Pole Mounted Transformer
| rated at 150kVA, 220:110V, 3 Wire, 3 phase 50HZ |  | Lot | JPSCo. Ltd. Liaison Only By Contractor
1 | ELECTRICAL DISTRIBUTION SYSTEM
A. | MAIN PANEL BOARD MP1
42 Way, 225A Bus, Three Phase, 4 wire, 50 Hz, 220:110V flush
| plus main (150A), wall mounted panelboard complete as follows: | 1 | No. |  | 0 | 0 | 0
| (i) 150A, 3 pole 220V, automatic main circuit breaker | 1 | No. |  | 0 | 0 | 0
| (ii) 40A, 3 pole 220V, automatic sub circuit breaker | 1 | No. |  | 0 | 0 | 0
| (iii) 30A, 3 pole 120V, automatic main circuit breaker | 1 | No. |  | 0 | 0 | 0
| (iv) 50A, 2 pole 220V, automatic sub circuit breaker | 1 | No. |  | 0 | 0 | 0
| (v) 20A, 2 poles, 220V, automatic sub circuit breaker | 10 | No. |  | 0 | 0 | 0
| (vi) 15A, 2 poles, 220V automatic sub circuit breaker | 4 | No. |  | 0 | 0 | 0
E. | COMMON SERVICES PANEL BOARD (CSP-2)
36 Way, 100A, Three Phase, 3 wire, 50 Hz, 220:110V flush
| wall mounted panelboard complete as follows: | 1 | No. |  | 0 | 0 | 0
| (i) 40A, 3 pole 220V, automatic main circuit breaker | 1 | No. |  | 0 | 0 | 0
| (ii) 20A, 2 pole 220V, automatic sub circuit breaker | 1 | No. |  | 0 | 0 | 0
| (iii) 20A, 1 pole 120V, automatic main circuit breaker | 1 | No. |  | 0 | 0 | 0
| (iv) 15A, 2 pole 220V, automatic sub circuit breaker | 5 | No. |  | 0 | 0 | 0
| (v) 20A, 3 poles, 220V, automatic sub circuit breaker | 1 | No. |  | 0 | 0 | 0
F. | COMMON SERVICES PANEL BOARD (CSP-1)
16 Way, 100A, Three Phase, 4 wire, 50 Hz, 220:110V flush
| wall mounted panelboard complete as follows: | 1 | No. |  | 0 | 0 | 0
| (i) 70A, 2 pole, 220V automatic main circuit breaker | 1 | No. |  | 0 | 0 | 0
| (ii) 40A, 3 pole, 220V automatic sub circuit breaker | 1 | No. |  | 0 | 0 | 0
| (iii) 40A, 2 pole, 120V automatic sub circuit breaker | 1 | No. |  | 0 | 0 | 0
| (iv) 15A, 2 pole, 220V automatic sub circuit breaker | 2 | No. |  | 0 | 0 | 0
B. | PANELBOARD MP2
24 Way, 100A, Single Phase, 3 wire, 50 Hz, 220:110V flush
| wall mounted panelboard complete as follows: | 1 | No. |  | 0 | 0 | 0
| (i) 50A, 2 pole, 220V automatic main circuit breaker | 1 | No. |  | 0 | 0 | 0
| (ii) 20A, 2 pole, 220V automatic sub circuit breaker | 9 | No. |  | 0 | 0 | 0
| (iii) 15A, 2 pole, 220V automatic sub circuit breaker | 1 | No.
| (iv) 20A, 1 pole, 110V automatic sub circuit breaker | 1 | No.
2 | LIGHTING
A. | Common Services |  |  |  | 0 | 0 | 0
| (i) 4'x2', LED recessed troffer, 60w, 220V, 50Hz, 6500lm | 29 | No. |  | 0 | 0 | 0
(ii) Surface mounted circular luminaire with 18w 220V, 50Hz LED
Lamp, with 3hrs. Maintained Emergency similar to Thorn Panther
| photocell operated. | 18 | No. |  | 0 | 0 | 0
| (iii) 4'x1', LED recessed troffer, 45w, 220V, 50Hz, 6500lm | 3 | No. |  | 0 | 0 | 0
| (iv) LED Floodlights | 11 | No. |  | 0 | 0 | 0
3 | CONVENIENCE OUTLETS & LIGHT SWITCHES
A. | For all shops
(i) 15A, 110V, duplex parallel pin and ground, flush wall
mounted convenience outlet. Mounted 450mm (18") above
| floor level | 39 | No. |  | 0 | 0 | 0
(ii) 15A, 110V, duplex parallel pin and ground, flush wall
mounted convenience outlet. Mounted 450mm (18") above
| floor level, Red for UPS | 14 | No. |  | 0 | 0 | 0
(iii) 15A, 220V, flush wall mounted outlet. Mounted 450mm (18")
| above floor level | 23 | No. |  | 0 | 0 | 0
0
(iv) Telephone/data outlet, flush wall mounted 450mm (18") above
| floor level. | 36 | No. |  | 0 | 0 | 0
| (v) 15A, 220V Single - Way Light Switch | 6 | No. |  | 0 | 0 | 0
[5 empty] | 0 | 0 | 0
| (vi) 15A, 220V, two-way light switch | 4 | No. |  | 0 | 0 | 0
| (vii) Light Switch Boxes | 10 | No. |  | 0 | 0 | 0
| (viii) Telephone/ Power Outlet Boxes | 112 | No. |  | 0 | 0 | 0
| (ix) Cover Plates for Outlets | 76 | No. |  | 0 | 0 | 0
(x) Light Switch Cover Plates
| (1) 1 Gang | 2 | No. |  | 0 | 0 | 0
| (2) 2 Gang | 2 | No. |  | 0 | 0 | 0
| (3) 4 Gang | 1 | No. |  | 0 | 0 | 0
| (xi) Floor Mounted Box- Hubbel SystemOne for Raised Access Floor, 4-Gang Floor Rectangular Box, complete with cover, 1no. Duplex 110V parallel pin outlet, 1No. 220V outlet, telephone/data combination outlet. Box - AFB4G50, 5" depth, Cover - 4GAFBCVRBK | 6 | No. |  | 0 | 0 | 0
Page: 2
ELECTRICAL BQ
PRICE PER UNIT
ITEM | DESCRIPTION | QUANTITY | UNIT | MATERIAL COST ONLY | ALL OTHER CHARGES | INSTALLED | TOTAL COST
B. | Common Services
(i) 15A, 110V, duplex parallel pin and ground, flush wall mounted
| convenience outlet. Mounted 450mm (18") above floor level. |  | No. |  | 0 | 0 | 0
(ii) Telephone outlet, flush wall mounted 450mm (18") above floor
| level |  | No. |  | 0 | 0 | 0
| (ii) 15A, 220V Single - Way Light Switch | 12 | No. |  | 0 | 0 | 0
[5 empty] | 0 | 0 | 0
| (iii) 15A, 220V, two-way light switch | 6 | No. |  | 0 | 0 | 0
| (iv) Occupancy Sensor |  | No. |  | 0 | 0 | 0
| (v) Photocell Switch | 3 | No. |  | 0 | 0 | 0
| (viii) Light Switch Boxes |  | No. |  | 0 | 0 | 0
| (ix) Telephone/ Power Outlet Boxes |  | No. |  | 0 | 0 | 0
| (x) Cover Plates for 110V Outlets |  | No. |  | 0 | 0 | 0
(xi) Light Switch Cover Plates
| (1) 1 Gang |  | No. |  | 0 | 0 | 0
| (2) 2 Gang | 2 | No. |  | 0 | 0 | 0
| (3) 3 Gang | 3 | No. |  | 0 | 0 | 0
4 | ISOLATORS (Air Conditioning)
| (i) 40A, 3 pole, 220V, 50Hz Weatherproof Isolators | 1 | No. |  | 0 | 0 | 0
| (ii) 30A, 3 pole, 220V, 50Hz Weatherproof Isolators | 1 | No. |  | 0 | 0 | 0 | 0
| (iii) 20A, 2 pole, 220V, 50Hz Indoor Isolators | 6 | No. |  | 0 | 0 | 0
5 | CABLES & ACCESSORIES
A. | From Existing Panel to MP1
| (i) 4C+G, XLPE cable, 95mm2 | 20 | meter |  | 0 | 0 | 0
| (ii) 4/0 Al, Quadruplex Service Drop | 134 | meter
0
| (iii) 100mm diameter Schedule 40 PVC Conduit | 20 | meter |  | 0 | 0 | 0
0
B. | From MP1 to MP2 |  |  |  | 0
| (i) 4C+G, 16mm2, XLPE Copper Cable | 5 | meter |  | 0 | 0 | 0
| (ii) 50mm diameter Schedule 40 PVC Conduit | 5 | meter |  | 0 | 0 | 0
0
C. | From MP1 to Precooled Unit |  |  |  | 0
| (i) 4C+G, 6mm2, XLPE Copper Cable | 20 | meter |  | 0 | 0 | 0
| (ii) 50mm diameter Schedule 40 PVC Conduit | 20 | meter
0
D. | From MP1 to Outdoor Unit |  |  |  | 0
| (i) 4C+G, 10mm2, XLPE Copper Cable | 20 | meter |  | 0 | 0 | 0
| (ii) 50mm diameter Schedule 40 PVC Conduit | 20 | meter
0
E. | Other Cables
| (i) 2.5mm, single PVC copper cable, stranded | 6000 | meter
| (ii) 2.5mm, single, bare copper, stranded cable | 2000 | meter
6 | CONDUITS & ACCESSORIES |  |  |  | 0
| (i) 25mm diameter Schedule 40 PVC Conduit | 1200 | meter |  | 0 | 0 | 0
[5 empty] | 0 |  |  | 0
| (ii) 20mm diameter Schedule 40 PVC Conduit | 2000 | meter |  | 0 | 0 | 0
0
| (iii) Conduit & Accessories | 1 | Lot |  | 0
0
B. | Common Services |  |  |  | 0
| (i) 20mm diameter Schedule 40 PVC Conduit | 1194 | meter |  | 0 | 0
[5 empty] | 0 | 0
| (ii) Conduit & Accessories |  | Lot |  | 0 | 0
[5 empty] | 0 | 0
| (iii) 100mm diameter, Schedule 40 PVC Conduit | 400 | meter |  | 0 | 0
0
C. | Telephone |  |  |  | 0
| (i) 100mm diameter Schedule 40 PVC Conduit | 115 | meter |  | 0 | 0
0
| (i) 25mm diameter Schedule 40 PVC Conduit | 640 | meter |  | 0 | 0
0
| (ii) 20mm diameter Schedule 40 PVC Conduit | 181 | meter |  | 0 | 0
0
| (iii) Conduit & Accessories |  | Lot |  | 0
0
8 | AIR CONDITIONING REQUIREMENTS |  |  |  | 0
| (i) Insulated Refrigerant Pipes (liquid & gas) from condensing unit |  |  |  | 0
| to evaporators |  |  |  | 0
| (1) 6.4mm diameter & 12.7mm diameter |  | meter |  | 0 | 0 | 0
0
| (2) 9.5mm diameter & 15.9mm diameter |  | meter |  | 0 | 0 | 0
0
AIR CONDITIONING REQUIREMENTS cont'd
| (ii) 25mm diameter Condensate Drain Pipe |  | meter |  | 0 | 0 | 0
0
| (iii) 100mm diameter Schedule 40 PVC Conduit (AC) |  | meter |  | 0 | 0 | 0
0
| (iv) 210 cfm extractor fan |  | No. |  | 0 | 0 | 0
0
| (v) 110 cfm extractor fan |  | No. |  | 0 | 0 | 0
0
7 | LIGHTNING PROTECTION SYSTEM |  |  |  | 0
| Saint Elmo Active Protection | 1 | No. |  | 0 | 0 | 0
0
| (ii) 2m Long Steel Core Copper Earth Rod |  | No. |  | 0 | 0 | 0
[5 empty] | 0 |  |  | 0
| (iii) 1m High Solid Copper Lightning Arrestor |  | No. |  | 0 | 0 | 0
0
| (iv) Tape Clips Support |  | No. |  | 0 | 0 | 0
0
| (v) Tape and Earth Rod Connector |  | No. |  | 0 | 0 | 0
0
| (vi) Inspection/Testing box |  | No. |  | 0 | 0 | 0
0
| (vii) Thermo-weld Joints |  | No. |  | 0 | 0 | 0
0
| (viii) 2400mm PVC Moulding |  | No. |  | 0 | 0 | 0
0
8 | EARTHING SYSTEMS |  |  |  | 0
| (i) 2m Long Steel Core Copper Earth Rod | 2 | No. |  | 0 | 0 | 0
[5 empty] | 0 |  |  | 0
| (ii) 50mm2 Bare Stranded Copper Wire | 30 | meter |  | 0 | 0 | 0
0
| (iii) 16mm2 Bare Stranded Copper Wire | 60 | meter |  | 0 | 0 | 0
0
| (iii) Inspection/Testing box | 2 | No. |  | 0 | 0 | 0
0
| (iv) Thermo-weld Joints | 2 | No. |  | 0 | 0 | 0
0
Page: 3
ELECTRICAL BQ
PRICE PER UNIT
ITEM | DESCRIPTION | QUANTITY | UNIT | MATERIAL COST ONLY | ALL OTHER CHARGES | INSTALLED | TOTAL COST
10 | INFRASTRUCTURE
(i) Plinth Constructed of 3000 psi concrete for Electrical
| Free Standing Meter board. |  | Lot | 35000 | 10500 | 45500
0
| (ii) Plinth Constructed of 3000 psi concrete for Air Conditoning |  |  |  | 0
| Condenser Units. Ref. Dwg. E15 for details. |  | Lot |  | 0
0
A. | Telephone |  |  |  | 0
| (i) 450mm x 500mm x 450mm deep reinforced concrete |  |  |  | 0
| manholes complete with reinforced metal cover | 6 | No. | 12000 | 3600 | 15600
0
| Telephone |  |  |  | 0
| (ii) Trenching & Back Filling |  |  |  | 0
| (1) Trenching | 38 | m3 |  | 0 | 0
0
| (2) Backfill with shifted sand | 19 | m3 | 1800 | 540 | 2340
0
| (3) Backfill with excavated soil | 19 | m3 |  | 0 | 0
0
B. | Electrical |  |  |  | 0
| (i) 600mm x 600mm x 600mm deep reinforced concrete manholes |  |  |  | 0
| complete with reinforced metal cover | 6 | No. | 14000 | 4200 | 18200
0
| (ii) Trenching & Back Filling |  |  |  | 0
| (1) Trenching | 60 | m3 |  | 0 | 0
0
| (2) Backfill with shifted sand | 27 | m3 | 1800 | 540 | 2340
0
| (3) Backfill with excavated soil | 33 | m3 |  | 0 | 0
0
13 | Miscellaneous Items for Complete Installation
| (i) 300 (12") x 300 (12") x 150mm (6") PVC Boxes |  | Lot
| (ii) 150 (6") x 150 (6") x 100mm (4") PVC Boxes |  | Lot
| (iii) Octagonal Boxes |  | Lot
| (iv) 100mm x 100mm Boxes |  | Lot |  |  |  |  | 0
| (v) Handi Boxes |  | Lot
| (vi) Switch Boxes |  | Lot
| (vii) Conduit Adaptors |  | Lot
| (viii) Conduit Bends |  | Lot
| (ix) Flex Conduits |  | Lot
| (x) Miscellaneous Hardware |  | Lot
14 | Government Electrical Inspectorate Fee |  | Lot
| SUB-TOTAL | [5 empty] | 0
GCT (16.5%)
| GRAND TOTAL | [5 empty] | 0
Carried to Form of Tender