## Slide 1: Developing Renewable Technologies
Proposed Wind and Solar Project
Done By: Anelda Maynard-Date

## Slide 2: OBJECTIVES
Types of Renewable Energy available to St. Kitts and Nevis
History of Renewable Technologies in St. Kitts and Nevis
Solar Energy
Wind Energy
Energy Efficiency and Sustainability

## Slide 3: TYPES OF RENEWABLE TECHNOLOGIES EXPLORED IN ST.KITTS AND NEVIS
Geothermal
Waste to Energy
Solar Energy
Wind Energy

## Slide 4: BRIEF HISTORY OF RENEWABLE TECHNOLOGIES IN ST.KITTS AND NEVIS
Geothermal
  2007 – Serious discussion started with WIP
  2008 – 3 slim hole wells were produced
Waste to Energy
  2014-NIA went into an agreement with Omni Alpha base in Maryland

## Slide 5: BRIEF HISTORY OF THE RENEWABLE TECHNOLOGIES IN ST.KITTS AND NEVIS
Solar Energy
  2013 – 0.75MW farm Robert L. Bradshaw International Airport
  2016 – 500kW farm at Frigate Bay Road
Wind Energy
  2010 – The first Wind Farm in the OECS was commission in Nevis
  Future- 5.4MW to be added at Belle View by Northstar

## Slide 6: SOLAR ENERGY

## Slide 7: May 01 2016 to May 01 2017

## Slide 8: May 03 to June 01 2017

## Slide 9: June 01 2017

## Slide 10: DIFFICULTIES OF SOLAR ENERGY
  Intermittent
  Takes up a lot of space when land is limited
  Costly venture
  Output is small in the scheme of things – the 500kW farm at Frigate bay produce only 1/10 of 1% of the energy generated according to a SKELEC report

## Slide 11: WIND ENERGY

## Slide 12: MADDENS WIND FARM, NEVIS
Customer: WINDWATT
Wind Turbine: 8 Vergnet GEV MP-C, 230 kW, 32m rotor diameter, 55m hub height
Total power: 2.2 MW
Commissioned: 2010
Operations and Maintenance: Vergnet S.A.

## Slide 13: ANNUAL ENERGY PRODUCTION

## Slide 14: DIFFICULTIES OF WIND ENERGY
  Intermittent
  Takes up a lot of space when land is limited
  Costly venture
  Output is small in the scheme of things – the 2.2MW farm at Madderns produce less than 1% of the energy generated.

## Slide 15: SUSTAINABILITY OF SOLAR & WIND ENERGY
  Both form of energy are sustainable

## Slide 16: HOW CAN DEVELOPING RENEWABLE TECHNOLOGIES BE INTEGRATED EFFECTIVELY?
  Education
  Increase roof-top applications
  After implementing energy efficiency
  Localized and remote location application
  Partnering with other technologies to increase grid integration such as smart grid technology
  Introduction of Net-metering by utilities

## Slide 17: QUESTIONS?

## Slide 18: THANK YOU!!