Structural Vulnerability Assessment of Selected Government Facilities:

Antigua and Barbuda

Floor Plans

Post-Georges Disaster Mitigation Project

in Antigua & Barbuda and St. Kitts & Nevis

July 2001

### Post-Georges Disaster Mitigation in Antigua & Barbuda and St. Kitts & Nevis is implemented by the Organization of American States, Unit for Sustainable Development and Environment for USAID-Jamaica/Caribbean Regional Program

Organization of American States

Unit of Sustainable Development and Environment

1889 F Street NW Washington DC 20006

http://www.oas.org/pgdm

This report was prepared under contract with the OAS by Everton Cornelius of VEC Consulting, with review assistance by the Antigua/Barbuda National Office of Disaster Services and Public Works Department.

# CLARE HALL SECONDARY SCHOOL

## St. Johns Fire Station

Generator

Room

### General Post Office

### Ministry of Finance

### Bishop Gate street Clinic

### Ministry of Public Works

Treasury

## Sea view Farm Primary School

### Potters Primary School

Freemans Village Primary School

Mental Hospital

GR

Liberta Primary School

SWEETS PRIMARY SCHOOL

BENDALS PRIMARY SCHOOL

Jennings Primary School

PARHAM PRIMARY SCHOOL

### GOLDEN GROVE PRIMARY SCHOOL

Mary E Pigott Primary School

Pares Clinic

Willikies Primary School

Glenville Primary School

Pares Primary School

Pares Secondary School

John Hughes Primary School

URLINGS PRIMARY SCHOOL

## Old Road Primary School

FINNES

## New Winthrope Primary School

GREEN BAY CLINIC

NATIONAL OFFICE OF DISASTER SERVICES

Antigua Girls High School

## ARCHIVES

POLICE HQ AMERICAN ROAD

## HANNA THOMAS HOSPITAL BARBUDA

## TREASURY AND POST OFFICE

BARBUDA

## Barbuda’s Secondary/Primary

School

St. Johns Health Centre

# Text boxes

TYPING ROOM

CLASSROOM

#  1

CLASSROOM

#  2

LAB # 1

LAB # 2

BATHROOMS

CRAFTROOM

METALWORK

WOODWORK

AUDITORIUM

Shelter

CAFETERIA       CLASSROOM        CLASSROOM      CLASSROOM

BL# 1

BL #  2

BL #  3

BL # 4

CLASSROOM                                  CLASSROOM                     CLASSROOM         CLASSROOM

Form    three

LIBRARY

STAFF              COMPUTER

ROOM                  ROOM

OFFICE           CLASSROOM

BOOK

ROOM

CLASS     CLASS     CLASS      HOME  EC

ROOM     ROOM      ROOM

1. Built in 1969

2. Total # of Buildings 8

3. Block 2 is the area designated as shelter, with a total area of 4,860 sqf. Shelter capacity 200

4. The total square footage = 23,788 (- 2,560 which is wood)

5. This building is a two-story Building and is the only Building with a Hip roof, all the other buildings have

Gable roof.

6. Block 4 and the Typing room are the only two wooden Structures as part of this Facility.

7. Block 4, which is of Plywood, will require major repairs shortly.

8. Geographical location GR 253938

Cistern 40,000 gal’s

1.  Total square footage = 592

2.  Built in 1965

3.  Location GR 524893

1.  Built in 1994

2.  Single building facility

3.  Total square footage   800

4.  Geographical location GR 233933

Principal’s Office

Staff room

Library

K           O

L

GR

Bathroom

Male/female

1.  Total square footage = 3,080

2.  Built in 1985

3. GR 324892

4.  # Of persons to the shelterees

area = 80

CR

Motopool

1.  Total square footage = 16,324

2.  Built in 1980

3.  Shelter area = 4476 = 180 Persons

4.  Location GR237925

1. Built in 1956

1. The Total Square Footage of

This Facility is 5,685.

2. The yellow area represents

two-story block.  The top

Floor is sleeping quarters.

3.  The additions to this Facility

Was added at different

Intervolves over time.

4.  The area is well drained and

Don’t have a history of

Flooding.

6.  The Building has no Shutters

7.  Geographical Location GR240931

Mail Boxes

Mail Boxes

- Built in 1968

- The total square footage =14,871

- This building is lower than its surrounding grade and only two Hundred feet from

the sea on the western side.

- Wooden Doors, Building has no shutters

- Single Building Facility, three story

- Geographical Location GR 222938

- The yellow represents the two story area

- Pink area represents the three story area

N

E

W

M

A

I

L

B

O

X

E

S

- Built in 1967

- One Building Facility

- Total square Footage = 17,600

- Flat shed roof

- This is a two story Building

- Geographical Location GR222938

- Yellow represents two story

- This building has no shutters

Cistern 60,000 Gal’s

Generator Room

- Total square footage = 13,800

- Built in 1965

- Location GR 229937

Cistern

1.  Total square footage 7,392

2.  The Building has no shutters

3.  Major repairs were carried out in 1991.

4.  The building is Vulnerable to debris from its

old parking garage

5.  Single building facility

6.  Geographical location GR233932

7.  Built in 1837

Bath          rooms

Classroom                 Classroom

Principles Office

Kitchen

C R

Library        CR

CR                     CR                      C R                        C R                           C R

C R

CR

1.  This Facility has 4 Plastic Water Tanks each with

a capacity of 500 Gal’s.

2.  Total square footage = 6,448

3. Designated shelter space = 80 Persons

4.  GR 275894

5.  Built in 1988

6.  Total number of Buildings = 7

Bath                rooms

Cistern

Principles Office               C R                                     C R                                 CR

Auditorium

C R

C R

C R                                 C R

Bath    rooms

Wt

Bathroom

Front Office

S

CR            CR               Principles

Office

CR         CR                          CR                      CR

Bath

Room

Home EC and kitchen

CR                         CR                 Bath

Room

Auditorium

Bath                 CR        CR         CR

Room

CR                CR                     CR

CR                                CR

Cistern

CR               CR                         Principal’s Bath      CR        Computer

Office     Room                    Room

CR

CR

CR

CR

1. Total square footage =31,881

2. Built in 1993

3.  Shelter area = 3120 = 120

1.  Total # of buildings =4

2.  Total square footage = 9,681

3.  This Facility has Hurricane

Clips and Metal Doors

4.  Drains are in good condition

5.  Built in 1960

6.  # Of person to the Shelter rea=

3492  = 145 Persons

Bath   room

CR

CR

CR

CR

Principles

Office

CR                    CR

CR                     CR                           CR

Cistern

1.  Total square footage =5,953 sq.ft.

2.  Built in 1970

3.  The Facility has a total of 6 buildings

4.  GR 242887

5.  # Of persons to the Shelter area=3456 = 140

Kitchen

Bathroom

Principles Office

Staff Room

CR                             CR                             Bathroom

CR

CR

CR

CR

CR

Bath   room

Auditorium

- Built in 1996

- This Facility has a total of 4 buildings

- Block # 4 is the designated Shelter  # of Shelterees 300

- Total square footage = 12,983

- Geographical Location GR 209879

4

Auditorium

F

Bath     room

M

CR

Principles Office

CR

Staff Room                                    CR

CR                   CR                 CR                  CR                     CR

Block # 4

CR                     CR

CR

Shelter

CR                  CR                CR                     CR

Cistern

Auditorium

CR                       CR                    CR                          CR

Shelter

CR                              CR                              CR

CR

M

Bath

Room

F

Kitchen

Principles Office

Bath        room

CR

Principles Office

Bathroom

Canteen

CR

CR                                CR                     Stairwell                            CR                                         CR

CR                                      CR                                                  CR                                          CR

Cistern

Pump house

M

Bath       room

F

CR

CR

CR

CR

CR

CR

CR

CR

CR

CR

CR

Cistern

Pump house

F

Bathroom

M

CR

CR

CR

CR

CR

Kitchen                      Principles Office

Pump house

CR

CR

CR

CR

CR

Bath   room

Principles Office

CR

CR

CR

CR

CR

CR                                     CR

Auditorium

Pump house

Decorative Blocks

Principal’s Office

Canteen

CR

CR

CR

Typing room

Office           Office          Office             Office            Office            Office        Office    Bath    Stores    Bath        Janitor’s

Room                Room       Room

CR

CR

CR

Principles Office

Computer Room

Bath    room          CR                                  CR                                  CR

Cistern

1.  Built in 1952

2.  Total square footage = 5,152

3.  Designated Shelter space = 60

4.  GR255844

Bath

Library

Room

Auditorium

Principles

Office

78ft

22ft

86 ft

32 ft

138 ft

32 ft

- Built in 1952

2.      Total Number of Buildings 3

- Block #1 is the area designated as shelter

- Total square footage 8,840

- # Of person per sheltered area 69

- GR 232815

Second floor

Third Floor

First Floor

Block # 1

Block # 2

Block # 3

Block # 4

Cistern 40,000

1. Built in 1971

2. Facility comprise of

6 buildings

3. Blocks  # 1, 3 & 4

Are designated

Shelters # of

Shelterees 260

4. Total square footage

8,642

5. Geographical

Location

GR312916

Block # 1

Block # 2

Block # 3

Block # 5

105 x 27

105 x 27

52 x 27

42 x 27

27 x 21

27 x 21

Block # 1

Bath        room

Shelter

Square Footage 3472

31x112

61 x 31

Shelter

Block # 3

141 x 31

Block # 2

Block # 4

70 x 31

Block # 5

Block # 6

1. Built in 1984

2. Total number of buildings 6

3. Block # 1,3 & 4 are the designated Shelter areas

4. # Of person per Shelter area  = 8,060  =335

5. Total square footage = 15,298

6. Geographical Location GR 199825

Shelter area

Coat yard

Parking shed

1.  Built in 1962

2.  Total square footage = 3,069

3.  Geographical location GR292887

4.  # Of persons to this shelter = 110

5.  Two building facility

Office             Office

Kitchen           Office

Laundry

Cistern

Wt

WT

1.  Built in 1956

2.  Total square footage = 11,537

3.  Total # of buildings to this

Facility  = 7

4.  Shelter area = 6,897

5.  # Of Shelterees to shelter area =

200

6.  Geographical location GR233909

- Built in 1929

- Total number of buildings18

- Total square footage = 32,250

- Number of buildings in need of repairs 8

1.  Built in 1971

2.  Total square footage = 31,600

3 Total number of buildings =2

4.  GR321893

1.  Built in 1964

2.  Total square footage= 6,518

3.  Designated shelter area =2,772 = 110

4.  GR370893

1.  Built in 1946

2.  Total square footage = 7,981

3.  Shelter area = 3545  = 140 Persons

4.  Location GR 258919

Shelter

Shelter

Shelter

Shelter

1.  Built in 1929

2.  Total square footage 22,808

3.  Total # of building 17

1.  Built in 1946

2.  Total square footage 1512

3.  Total # of Building 2

1.  Built In  1955

2.  Single Building Facility

3.  Total square footage =

1.  Built in 1975

2.  Total square footage =

3.  Single building Facility

1.  Built in 1985

2.  Total square footage = 8,741

3.  Single building facility

1.  Built in 1970

2.  Total # of buildings = 4

3.  Total square footage =7433

1.  Built In = 1743

2.  Total square footage = 1548

3.  Single building facility

1.  Built in 19 1743

2.  Total Square footage = 16,811

3.  Total # of buildings 13

1.  Built in 1971

2.  Total Square footage = 19,456

3.  Total # of building = 3

1.  Built in 1886

2.  Total square footage =

3.  Total # of buildings = 6

Generator

room

CR

CR            CR           CR

CR

CR

CR

Bath       Room

CR  IT                                         CR  IT

LAB

Kitchen             CR                CR                      CR                      CR

Principal’s

Office

CR

CR

Staff Room

CR

CR

CR